Minutes of Negotiation

PT.MBT and Electrical Engineering Study Program

Makassar, January 18, 2005

| Item No. | Name of Equipment | Agreements |
| --- | --- | --- |
| 25 | Current Transformer | One item is a single core and the other one is double core |
| 26 | Potential Transformer | accepted as proposed by MBT (Comply) |
| 28 | Over Current Relay | accepted as proposed by MBT (Comply) |
| 29 | Directional Current Relay | accepted as proposed by MBT (Comply) but request for reduce the qty fro 2 to 1 and add one item (the differential Relay) for replaced 1 qty. |
| 60 | Programmable Logic Controller Option Modules | Allocate the item & budget to Item 114 |
| 64 | Time Switching Interactive Software | the software is licensed and must be latest & full version |
| 65 | Stage Group Switching Interactive Software | the software is licensed and must be latest & full version |
| 66 | Telephone Traffic Interactive Software | the software is licensed and must be latest & full version |
| 67 | Traffic Calculation Interactive Software | the software is licensed and must be latest & full version |
| 68 | Packet Transmission Interactive Software | the software is licensed and must be latest & full version |
| 69 | Packet Switching Queues Interactive Software | the software is licensed and must be latest & full version |
| 70 | 8085 Simulation Software | the software is licensed and must be latest & full version |
| 110 | Lighting Installation Experiment Kit | Include 2 Inverters for domestic use, Add 1 Time relay(230-Vac motor) for staircase lighting |
| 111 | Electrical Heating Installation | Withdraw the item and allocate the budget to item 115 |
| 115 | Electric & industrial Inst. Experiment | Increase the quantity from one to two item |
| 116 | Visual Basic (Software) | the software is licensed and must be latest & full version (Visual Studio) |
| 117 | Matlab (Software) | the software is licensed and must be latest & full version |
| 118 | Electronic Workbench (EWB-Software) | the software is licensed and must be latest & full version(include: Multisim, Multicad and multi board) |
| 120 | CISCO Pack | Withdraw the item and reallocate the budget to the other item |

Page 1/2

Signed by:

1. Dr.Junaedi Muhidong (SPMU Director)	1.………………………….

2. Dr. Herman Parung (Bidding Committee)	2.………………………….

3. M.Isnan R. Pawennei (PT.MBT Utama)	3.………………………….

4. Dr.Rhiza S. Sadjad (PC-EESP)			4.………………………….

Page 2/2

Minutes of Negotiation

PT.MBT and Chemistry Study Program

Makassar, January 19, 2005

| Item No. | Name of Equipment | Agreements |
| --- | --- | --- |
| 13 | Separatory Funnel | accepted as proposed by MBT |
| 22 | Electromantle | The capacity should be 50ml, 100ml, 250ml, 500ml, 1000ml, 2000ml & 5000ml |
| 28 | Filter Membrane | accepted as proposed by MBT |
| 38 | Bohm Calorimeter | 3 units Calorimeter Replaced by two Reference electrode Ag/AgCl Hg/HgCl plus two 5 ltr Boiling Flask (pyrex) |
| 43 | Erlenmeyer with Stopper | Pyrex, as in the brochure |
| 45 | Measuring pipettes | 0.2 mL Discontinued, replaced by one pack of 1 ml and one pack of 2 ml capacity |

Signed by:

1. Dr.Junaedi Muhidong (SPMU Director)	1. ………………………………….

2. Dr. Herman Parung (Bidding Committee)	2. ………………………………….

3. M.Isnan R. Pawennei (PT.MBT Utama)	3. ………………………………….

4. Dr.Paulina Taba (PC-Chemistry)		4. ………………………………….

Minutes of Negotiation

PT.MBT and Agricultural Product Technology Study Program

Makassar, January 18, 2005

| Item No. | Name of Equipment | Agreements |
| --- | --- | --- |
| 68-72 | Kjeldahi System for Protein Analysis | All Item should Compatible |
| 125 | Unbreakable Burret | Include Burret Stand |
| 126 | Unbreakable Burret | Include Burret Stand |
| 127 | Unbreakable Burret | Include Burret Stand |
| 153 | Multipurpose Water Bath | WB436/D Vaniaraisa |
| 154 | Rotational Viscometer | Include Accessories |
| 158 | Rotary Vacuum Evaporator | Include Accessories |
| 176 | Fermentor Set | Should be 3 L |
| 193 | UV PCR Class 100 Chamber | The item is replaced with “Orbital Environ Shaker” (65 C) |
| 205 | Capping Machine | Include bottle sample & Crown caps |
| 206 | Polystat Heated Circulating Bath | Include pipe 200 C |

Signed by:

1. Dr.Junaedi Muhidong (SPMU Director)	1. ………………………………….

2. Dr. Herman Parung (Bidding Committee)	2. ………………………………….

3. M.Isnan R. Pawennei (PT.MBT Utama)	3. ………………………………….

4. Dr. Meta Mahendradatta (PC-APTSP)		4. ………………………………….