## Total
$
82109.6882
8475 | 21146975
161727.6
127780.445
289508.045 | 303983.4473 | 1.0398
14475.4022
LABORATORY |  |  | LAB. I | LAB. II | LAB III | LAB IV | Total
1. Basic Electric Lab. |  |  | 39855.5382 | 2486.8824 |  |  | 42342.4206
2. Radio Telecommunication & |  |  | 25297.7 | 1266 | 7278.6 | 27188.7 | 61031
Microwave Lab.
3. Control and Instrumentation Lab. |  |  |  |  | 17325 | 10395 | 27720
4. Telematics Lab. |  |  |  |  | 12082.35 | 16814.7 | 28897.05
5. Computer Lab. |  |  |  |  | 28875 | 12757.5 | 41632.5
6. Electronics and Devices Lab. |  |  |  |  | 6245.4 | 11620.1 | 17865.5
7. Electrical Machines Lab. |  |  | 6246.45 | 7209 | 4267.2 | 8383.2 | 26105.85
8. Relay & Measurement Lab. |  |  |  |  | 12711.3 | 5302.5 | 18013.8
9. Power Electronic Lab. |  |  |  |  | 19099.5 | 9148.965 | 28248.465
10. High Voltage Lab. | [5 empty] | 26169.78 | 26169.78
11. Installation & Power Distribution Lab. |  |  |  |  | 36555.75 |  | 36555.75
12. Computer Software Lab. |  |  | 10710 |  | 17287.5 |  | 27997.5
382579.6156
[5 empty] | Total R1 | 289508.045
[5 empty] | Total E2 | 93072.5676

## Prak01
Laboratory I
No | Experiments | Lab | Equipment | Spesification | Quantity | Unit Cost | Total Cost (US $) | Remark
I.1.1 | Measuring Unit | 1 | Oscilloscope single beam 20 Mhz |  | 10 | 787.185 | 7871.85
|  |  | Oscilloscope double beam 20 Mhz |  | 10 | 787.185 | 7871.85
|  |  | DC Power Supply 0-30 V / 5A |  | 15 | 378 | 5670
|  |  | Function Generator/Sine, Triangular & Square-001-10 Mhz |  | 10 | 1311.975 | 13119.75
|  |  | Digital Wattmeter |  | 5 | 780.3 | 3901.5
|  |  | Multimeter |  | 5 | 190 | 950
|  |  |  | 55 | Sub Total |  | 39384.95
I.1.2 | Rectifier | 1 | Laboratory Modules |  | 1 | 1000000 | 117.6471
I.1.3 | Kirchoff's Law | 1 |  |  |  | 0 | 0
I.1.4 | Transient | 1 | Laboratory Modules |  | 1 | 1000000 | 117.6471
I.1.5 | Linier Amplifier | 1 | Laboratory Modules |  | 1 | 1000000 | 117.6471
I.1.6 | Linier Low Frequency Amplifier | 1 | Laboratory Modules |  | 1 | 1000000 | 117.6471
I.1.7 | Logic Circuit | 1 |  |  |  | 0 | 0
I.1.8 | Counter and Register | 1 |  | 4 |  | 0 | 0
[5 empty] | Sub Total |  | 470.5882 |  | Lab Module | 4
[5 empty] | ) |  | 39855.5382 |  |  | 10
No | Experiments | Lab | Equipment | Spesification | Quantity | Unit Cost | Total Cost | Remark
I.2.1 | Pengenalan Internet |  | Personal Computer | Intel Pentium II 300 MHz | 8 | 551.25 | 4410
|  |  |  | Floppy Panasonic |  | 0
|  |  |  | Hardisk 20 Gbyte |  | 0
|  |  |  | RAM 64 MBPS |  | 0
Motherboard ASUS
|  |  |  | Monitor CTIC |  | 0
|  |  |  | NIC D-Link 10/100 MBPS |  | 0
|  | 2 |  | CD Room Asus 50X |  | 0
|  |  |  | VGA Card 8 MBPS |  | 0
|  |  | Stavolt Tamiya TVS - 10 |  | 4 | 52.5 | 210
|  |  | UTP Cable 30 m |  | 30 | 15 | 450
|  |  | RS 45 Connector |  | 20 | 10 | 200
|  |  | SCSI cood : Symbolic Logic |  |  | 0
|  |  | 53 C 416 |  |  | 0
|  |  | Adaptor for HP Scan |  | 2 | 105 | 210
|  |  | CD-Writer | 64 | 2 | 367.5 | 735
I.2.2 | Audio Amplifier | 2 | 1. Modul |  | 2 | 105 | 210
|  |  | 2. Osciloscope | Double beam 10MHz | 7 | 1591.8 | 11142.6
|  |  | 3. Multimeter |  | 2 | 220.5 | 441
|  |  | 4. Function Generator | Wareform: sine,square, | 3 | 2429.7 | 7289.1
|  |  |  | triangle,ramp,pulse sineware |  | 0
|  |  |  | output : 1 Hz - 1 MHz |  | 0
|  |  |  | 14 | Total in US $ |  | 25297.7
No | Experiments | Lab | Equipment | Spesification | Quantity | Unit Cost | Total Cost | Remark
I.12.1 | BASIC Program and Computer Introduction | 12 | Personal Computers |  | 11 | 735 | 8085
|  |  | Data Switches |  | 10 | 105 | 1050
|  |  | Printers |  | 10 | 157.5 | 1575
|  |  |  | 31 | Total in US $ |  | 10710
No | Experiments | Lab | Equipment | Spesification | Quantity | Unit Cost | Total Cost | Remark
I.7.1 | DC Motor/DC Generator | 7 | DC Motor/DC Generator with | Power : 1000 KV | 1 | 2094.75 | 2094.75 | I/III
| Voltage Regulation |  | Separated/Composed Excitation | Armature Voltage : 220 Vdc |  | 0 |  | (P-1/EV)
|  |  |  | Excited Voltage : 220 Vdc |  | 0
|  |  |  | Rpm : 3000 |  | 0
|  |  | DC Motor, Shunt Compound Series and | Power : 1000 W | 1 | 2965.2 | 2965.2 | I/III
|  |  | Excited Field | Armature Voltage : 220 Vdc |  | 0
|  |  | Specification : | Separated Excited Voltage : 220 Vdc |  | 0
|  |  |  | Rpm : 3000 |  | 0
|  |  | Series Field Rheostat | Power : 500 W | 2 | 239.4 | 478.8 | I/III
|  |  | Specification : | Resistance Value : 16 Ohm |  | 0
|  |  | Regulated Power supply | Voltage : 12 Vdc | 1 | 707.7 | 707.7
|  |  |  | Current : 15 A |  | 0
|  |  |  | 5 |  | Total | 6246.45
[6 empty] | Total Prak. I | 82109.6882

## Prak02
Laboratory II
No | Experiments | Lab | Equipment | Spesification | Quantity | Unit Cost | Total Cost | Remark
II.1.1 | ABCD constante | 1 | Laboratory Module |  | 1 | 1000000 | 1000000
II.1.2 | Multivibrator | 1 | Laboratory Module |  | 1 | 1000000 | 1000000
II.1.3 | Pushpull Amplifier | 1 | Laboratory Module |  | 1 | 1000000 | 1000000
II.1.4 | Oscillator | 1 | Laboratory Module |  | 1 | 1000000 | 1000000 |  | 117.6471
II.1.5 |  | 1 | Digital LCR Meter EDC-1620 |  | 1 | 15138500 | 15138500
|  |  | Laboratory Module |  | 1 | 1000000 | 1000000
|  |  | Laboratory Module |  | 1 | 1000000 | 1000000 |  | Lab Modul | 6
|  |  |  | Total Rp |  |  | 21138500
No | Experiments | Lab | Equipment | Spesification | Quantity | Unit Cost | Total Cost | Remark
II.2.1 | AM Signal | 2 | 1.Module | Double beam 100 MHz | 1 | 100 | 100
|  |  | 2. Osciloscope | Display 8 digit 1 Hz - 1 MHz | 0 | 1516 | 0
|  |  | 3. Frequency Counter |  | 2 | 533 | 1066
II.2.2 | Microphone Radiator | 2 | 1.Module |  | 1 | 100 | 100
| Pattern |  | 2. Function Generator | Wareform: sine,square, | 0 | 2429.7 | 0
triangle,ramp,pulse sineware
output : 1 Hz - 1 MHz
|  |  | 3. Osciloscope | Double beam 10MHz | 0 | 1516 | 0
[5 empty] | Total in US $ |  | 1266
No | Experiments | Lab | Equipment | Spesification | Quantity | Unit Cost | Total Cost | Remark
II.7.1 | Transformator No Load |  | Single Phase Transformer | Power : 760 VA | 3 | 363 | 1089 | M-13/EV
| Short Circuit |  |  | Primary Voltage : 230 V-50 Hz
|  |  | Three Phase Transformer | Power : 350 VA | 2 | 435 | 870 | M-14/EV
Primary Voltage : 230/400/346 V-50 Hz
D/Y/Zig-Zag Connection
Secondary Voltage : 230/400/346 V
|  | 7 | Moving Coil Amperemeter | DC/AC Measurements | 6 | 304 | 1824 | LCA-1
|  |  |  | Accuracy ± 0,5 % |  |  |  | II/III
Range : 60-120-300-600 mA
|  |  | Moving Coil Voltmeter | DC/AC Measurements | 6 | 319 | 1914 | LCV-2
|  |  |  | Accuracy ± 0,5 % |  |  |  | II/III
Range : 60-120-300-600 V
|  |  | Electronic Wattmeter with Power factor | DC/AC Measurements | 4 | 378 | 1512 | LW-W/600
|  |  | Specification : | Accuracy ± 0,5 % |  |  |  | II/III
Range : 48-120-240-480 V/2,5 - 5 A
[5 empty] | Sub Total | $ | 7209
[5 empty] | TOTAL | Rp | 21146975 | 2487.8794
[6 empty] | $ | 8475
[5 empty] | Total Prak. II |  | 10962.8794

## Prak03
Lampiran :
PRAKTIKUM III
No | Experiment | Lab | Name of Equipment | Qty | Unit price | Sub total
[5 empty] | ( US $ ) | price(US $)
1 | SSB Transmitter | 2 | 1. SBB Transmitter Module | 2 | 157.5 | 315
|  |  | 2. PC Based Spectrum Analyzer | 2 | 2520 | 5040
2 | 3 Channel PAM | 2 | 1. 3 Channel PAM Module | 2 | 157.5 | 315
|  |  | 2. Double Beam Oscilloscope | 2 | 0 | 0
|  |  | 3. Frequency Counter | 1 | 0 | 0
3 | 3Channel PCM | 2 | 1. 3 Channel PAM Module | 2 | 0 | 0
|  |  | 2. Double Beam Oscilloscope | 2 | 0 | 0
|  |  | 3. Frequency Counter | 1 | 0 | 0
4 | FM Transmitter | 2 | 1. FM Transmitter Module | 2 | 157.5 | 315
|  |  | 2. Double Beam Oscilloscope | 2 | 0 | 0
|  |  | 3. Analog Multimeter | 2 | 52.5 | 105
|  |  | 4.SWR Meter | 1 | 1188.6 | 1188.6 | 7278.6
5 | 8031-Based Control System | 3 | 1. 8031 Kit | 5 | 525 | 2625
|  |  | 2.Digital Osciloscope | 2 | 1575 | 3150
|  |  | 3.Exprimental Kit | 1 | 7350 | 7350
6 | Servo Motor | 3 | 1. Servo Motor Kit | 2 | 2100 | 4200 | 17325
7 | Artificial Transmission line | 4 | 1.Artificial Tx-Line Module | 2 | 157.5 | 315
|  |  | 2. Double Beam Oscilloscope | 1 | 1591.8 | 1591.8
|  |  | 3. Function Generator | 1 | 2429.7 | 2429.7
|  |  | 4. Digital LCR meter | 1 | 1870.05 | 1870.05
8 | ASK/FSK/PSK | 4 | 1. ASK/FSK/PSK Module | 2 | 105 | 210
|  |  | 2. PC based Osciloscope | 1 | 1591.8 | 1591.8
9 | Digital Exchange | 4 | 1. PBX NEAX 2400 | 0 | 0 | 0
|  |  | 2. Telephone Set | 10 | 10.5 | 105
|  |  | 3. Telephone Cable | 1 | 42 | 42
10 | STDI Simulation | 4 | 1. PC Pentium IV | 4 | 960.75 | 3843
|  |  | 2. Software simulation | 1 | 84 | 84 | 12082.35
11 | Microprocessor & UP | 5 | 1. PC Pentium IV | 30 | 945 | 28350
|  | 5 | 1. 8085 Simulator Software | 5 | 105 | 525 | 28875
12 | Multivibrator | 6 | 1. Multivibrator Module | 2 | 105 | 210
|  |  | 2. Double Beam Oscilloscope | 1 | 1591.8 | 1591.8
13 | Schmitt Trigger | 6 | 1. Schmitt Trigger Module | 2 | 105 | 210
|  |  | 2. Double Beam Oscilloscope | 1 | 0 | 0
|  |  | 3. Function Generator | 1 | 2429.7 | 2429.7
14 | UJT Oscillator | 6 | 1. UJT Oscillator Module | 2 | 105 | 210
|  |  | 2. Double Beam Oscilloscope | 1 | 0 | 0
|  |  | 3. Digital Multimeter | 2 | 586.95 | 1173.9
15 | Blocking Oscillator | 6 | 1. Blocking Oscillator Module | 2 | 105 | 210
|  |  | 2. Double Beam Oscilloscope | 1 | 0 | 0
|  |  | 3. Digital Multimeter | 1 | 0 | 0
16 | Time Base Generator | 6 | 1. Time Base Generator Module | 2 | 105 | 210
|  |  | 2. Double Beam Oscilloscope | 1 | 0 | 0 | 6245.4
17 | Compound DC Motor | 7 | 1. DC motor , Shunt, Compound | 0 | 2094.75 | 0
| with load |  | series and Excited field |  | 0 | 0
18 | Compound DC Generator | 7 | 1. DC Generator with separated | 0 | 2965.2 | 0
| with load |  | Composed |  | 0 | 0
19 |  |  | 2. Series Field Rheostat | 1 | 0 | 0
| Transformer Parallel | 7 | 1.Single Phase Transformer | 0 | 381.15 | 0
| Operation loading |  | 2. Three Phase Transformer | 1 | 0 | 0
|  |  | 3. Ohmic Load | 1 | 870.45 | 870.45
|  |  | 4. Moving Coil Amperemeter | 3 | 0 | 0
|  |  | 5. Moving Coil Voltmeter | 3 | 0 | 0
|  |  | 6. Electronic Wattmeter with PF | 2 | 0 | 0
|  |  | 7.Digital Multimeter | 3 | 124.95 | 374.85
|  |  | 8. Tachometer | 1 | 1041.6 | 1041.6
|  |  | 9. Digital Torque Meter | 2 | 990.15 | 1980.3 | 4267.2
20 | Transformer Test ( Polarity, | 8 | 1. CT 20 KV/2 CIR 0,5/SP | 2 | 601.65 | 1203.3
| ratio, magnetic Curve ) |  | 2. Power Trans.20 KV / 1 Core | 2 | 598.5 | 1197
|  |  | 3. Power Trans.20 KV / 2 Core | 2 | 0 | 0
|  |  | 4. Regulating Trafo 220/0-220 Vac | 3 | 73.5 | 220.5
|  |  | 5. Current Injection Trans. 0-500 A | 2 | 315 | 630
21 | Sensitivity Operation Charak. | 8 | 1. Over Current Relay | 2 | 1396.5 | 2793
|  |  | 2. Directional Current Relay | 2 | 2073.75 | 4147.5
|  |  | 3. Secondary Current Injection Test Set | 2 | 315 | 630
|  |  | 4. Amperemeter Standard | 8 | 105 | 840
|  |  | 5. Voltmeter Standard | 6 | 105 | 630
|  |  | 6. Resetable Digital Clock | 4 | 52.5 | 210
|  |  | 7. 3 Phase Voltage Shitfer | 2 | 105 | 210
|  |  | 8. Phase Angle Meter | 0 | 0 | 0 | 12711.3
22 | Uncontrolled AC - DC | 9 | 1. AC/DC Digital Voltmeter | 2 | 619.5 | 1239
| Converter |  | 2. AC/DC Digital Ammeter | 2 | 619.5 | 1239
|  |  | 3. AC/DC Electronic Wattmeter | 2 | 98.7 | 197.4
|  |  | 4. Resistive/Capacitive Load | 1 | 795.9 | 795.9
|  |  | 5. Variable Resistance 200 Ohm,3A | 1 | 747.6 | 747.6
|  |  | 6. Inductive Load 700 mH | 1 | 733.95 | 733.95
|  |  | 7. Double Beam Oscilloscope | 2 | 787.5 | 1575
|  |  | 8. PC Pentium IV | 1 | 988.05 | 988.05
|  |  | 9. Cassy-Pack | 2 | 1852.2 | 3704.4
23 | AC - DC Converter | 9 | 1. Diode & Thyristor Rectifiers | 1 | 105 | 105
| Controlled |  | 2. DC Motor Shunt,Series, compound | 1 | 2965.2 | 2965.2
|  |  | and excitation field |  | 0 | 0
|  |  | 3. RMS meter | 2 | 65.1 | 130.2
|  |  | 4. Power Meter | 2 | 65.1 | 130.2
|  |  | 5. Two Pulse Control Unit | 2 | 97.65 | 195.3
|  |  | 6. Double Beam Oscilloscope | 0 | 0 | 0
|  |  | 7. Trigger Point Limiter | 2 | 72.45 | 144.9
24 | AC-AC CONVERTER | 9 | 1. SCR Trainer | 1 | 2598.75 | 2598.75
|  |  | 2. AC motor Unit | 1 | 393.75 | 393.75
|  |  | 3. Voltage Reference Generator | 2 | 98.7 | 197.4
|  |  | 4. Phase Control -Fault Simulator | 2 | 98.7 | 197.4
25 | DC - AC CONVERTER | 9 | 1. SCR Trainer | 0 | 2598.75 | 0
| ( INVERTER ) |  |  |  | 0
26 | DC-DC CONVERTER | 9 | 1. MOSFET Module | 2 | 32.55 | 65.1
| ( CHOPPER ) |  | 2. DC Power Supply | 2 | 378 | 756
|  |  | 3. DC Motor Shunt,Series, compound | 0 | 0 | 0 | 19099.5
27 | Lighting Installation | 11 | 1. Experiment kit | 2 | 714 | 1428
28 | Alarm system & Eletric heating | 11 | 1. Electrical Heating Installation | 1 | 5108.25 | 5108.25
|  |  | 2. Alarm Instalation Mod.I/EV Module | 1 | 5380.2 | 5380.2
29 | Electric & Industrial Installation | 11 | 1. Experiment kit | 1 | 14490 | 14490
30 | Programmable Logic Control (PLC) | 11 | 1. Programmable Logic Control Trainer | 1 | 4089.75 | 4089.75
|  |  | (S7-Siemens - PLC-8/EV) |  | 0
|  |  | 2. External-Operator Box | 1 | 940.8 | 940.8
31 | Fuzzy Logic | 11 | 1. Fuzzy Logic PLC Trainer (mod. PLC-6/EV) | 1 | 5118.75 | 5118.75 | 36555.75
32 | Basic Program | 12 | 1. Visual Basic | 5 | 105 | 525
33 | Application Packet | 12 | 1. Matlab 6.1 | 5 | 525 | 2625
|  |  | 2. EWB | 5 | 262.5 | 1312.5
|  |  | 3. Electrical & Electronic Multi-Media S/W | 1 | 10200 | 10200
|  |  | 4. Simulink 4.1 | 5 | 525 | 2625 | 17287.5
|  |  |  | Total in US $ |  | 161727.6
| Note : |  |  | Total in Rp. |  | 1374684600
1. Basic Electric Lab.
2. Radio Telecommunication &
Microwave Lab.
3. Control and Instrumentation Lab.
4. Telematics Lab.
5. Computer Lab.
6. Electronics and Devices Lab.
7. Electrical Machines Lab.
8. Relay & Measurement Lab.
9. Power Electronic Lab.
10. High Voltage Lab.
11. Installation & Power Distribution Lab.
12. Computer Software Lab.

## Prak04
Laboratory IV
No | Experiments | Lab | Name of Equipment | Qty | Unit Price (US $) | Sub Total Price (US $)
IV.2.1 | TV Trainer | 2 | 1. TV Trainer | 1 | 420 | 420
|  |  | 2. Colour Pattern Generator | 1 | 1050 | 1050
|  |  | 3. PC Based Oscilloscope | 1 | 682.5 | 682.5
|  |  | 4. Analog Multimeter | 1 | 0 | 0
IV.2.2 | Microwave | 2 | 1. Microwave Training Systems | 1 | 13212.15 | 13212.15
IV.2.3 | Antenna | 2 | 1. Antenna Trainer | 1 | 11824.05 | 11824.05 | 27188.7
IV.3.1 | PLC Programming | 3 | 1. PC Pentium IV | 20 | 0 | 0
|  |  | 2. PLC Kit | 2 | 1312.5 | 2625
1V.3.2 | PC Based Instrumentation | 3 | 1. PC Based Integrated Digital | 4 | 682.5 | 2730
|  |  | Storage Oscilloscope |  | 0
|  |  | 2. PC Based Parallel Port Logic Analyzer | 2 | 2520 | 5040
|  |  | 3. PC Pentium IV | 6 | 0 | 0 | 10395
IV.4.1 | Optical Communication | 4 | 1. Optical Communication Trainer + Accessories | 2 | 6207.6 | 12415.2
IV.4.2 | Telephone Traffic Simulation | 4 | 1. Personal Computer | 2 | 0 | 0
|  |  | 2. Time Switching Interactive Software | 2 | 373.8 | 747.6
|  |  | 3. Telephone Traffic Interactive Software | 2 | 373.8 | 747.6
|  |  | 4. Traffic Calculation Interactive Software | 2 | 225.75 | 451.5
|  |  | 5. Packet Transmission Interactive Software | 2 | 373.8 | 747.6
|  |  | 6. Packet Switching Interactive Software | 2 | 373.8 | 747.6
|  |  | 7. Packet Switching Queues Interactive Software | 2 | 373.8 | 747.6
|  |  | 8. Printer Scanjet | 1 | 210 | 210
IV.5.1 | Data Communication & Networking | 5 | 1. PC Pentium IV | 10 | 0 | 0 | 16814.7
|  |  | 2. PC-AT 915 MHz WaveLAN PC-AT Wireless Adapter DS 2 Mbps | 2 | 656.25 | 1312.5
|  |  | 3. Multicap Serial -Wave FH 1.6 Mbps*100 mW | 2 | 1312.5 | 2625
|  |  | 150 m, 18 Km |  | 0
|  |  | 4. Cisco-Pack | 0 | 0 | 0
IV.5.2 | Computer Interfacing | 5 | 1. PC Pentium IV | 0 | 0 | 0
|  |  | 2. Interface Kit | 1 | 5250 | 5250
IV.5.3 | Multimedia & Image Processing | 5 | 1. PC Pentium IV | 10 | 0 | 0
|  |  | 2. Voodoo3 3500 | 2 | 367.5 | 735
|  |  | 3. USB Video Camera | 2 | 157.5 | 315
|  |  | 4. HP Scanjet 4300C,USB/Paralel | 2 | 210 | 420
|  |  | 5. Printer (Laser,Colour) | 2 | 1050 | 2100 | 12757.5
IV.6.1 | Digital Trainer | 6 | 1. Digital Trainer | 1 | 1633.8 | 1633.8
IV.6.2 | Analog Trainer | 6 | 1. Analog Trainer | 1 | 1521.45 | 1521.45
IV.6.3 | Op-Amp | 6 | 1. Op-Amp Trainer | 1 | 2023.35 | 2023.35
IV.6.4 | Simulat.Design Digital Trainer | 6 | 1. Personal Computer | 2 | 1170.75 | 2341.5
IV.6.5 | Semiconductor Trainer | 6 | 1. Semikonduktor Trainer Kit | 1 | 4100 | 4100 | 11620.1
IV.7.1 | Synchronous Generator | 7 | 1. Three Phase Synchr.Generator with | 1 | 1044.75 | 1044.75
|  |  | Rotating Inductor |  | 0 | 0
|  |  | 2. Electrodynamic Three Phase PP | 1 | 426.3 | 426.3
|  |  | 3. Generator Shunt Field Rheostat | 3 | 239.4 | 718.2
|  |  | 4. Digital Electronic Revolution Counter | 1 | 1043.7 | 1043.7
|  |  | 5. Voltmeter | 1 | 0 | 0
|  |  | 6. Amperemeter | 4 | 0 | 0
IV.7.2 | Synchronous Motor | 7 | 1. Three Phase Synchr. Motor | 1 | 1044.75 | 1044.75
|  |  | 2. Digital Torque meter | 1 | 0 | 0
|  |  | 3. Amperemeter | 3 | 0 | 0
|  |  | 4. Voltmeter | 1 | 0 | 0
|  |  | 5. Power Factor meter | 1 | 0 | 0
|  |  | 6. Tachometer | 1 | 0 | 0
|  |  | 7. Variabel Resistive Load | 1 | 0 | 0
|  |  | 8. Variabel Capacitive Load | 1 | 870.45 | 870.45
IV.7.3 | Asynchronous Motor | 7 | 1. Three phase Slip Ring Asynchr.Motor | 1 | 1038.45 | 1038.45
|  |  | 2. Amperemeter | 3 | 0 | 0
|  |  | 3. Voltmeter | 1 | 0 | 0
|  |  | 4. Power Factor meter | 1 | 0 | 0
|  |  | 5. Digital/Optical Contact Tachometer | 1 | 990.15 | 990.15
IV.7.4 | Universal Motor | 7 | 1. Universal Motor | 1 | 1206.45 | 1206.45 | 8383.2
IV.8.1 | Instrument Transformer Test | 8 | 1. CT 20 KV 2 CIR | 1 | 0 | 0
|  |  | 2. PT 20 KV/1 Core | 1 | 0 | 0
|  |  | 3. Regulating Transformer PT 20 KV/1Core | 2 | 0 | 0
|  |  | 4. Current Injection Transformer | 2 | 315 | 630
IV.8.2 | Non Directional | 8 | 1. Overcurrent relay + E/F | 1 | 0 | 0
| Overcurrent relay dan |  | 2. Directional O/C | 1 | 0 | 0
| Directional Relay |  | 3. Secondary Current Injection Test Set | 1 | 0 | 0
|  |  | 4. Amperemeter Standard | 4 | 0 | 0
|  |  | 5. Voltmeter Standard | 3 | 0 | 0
|  |  | 6. Resetable Digital Clock | 2 | 0 | 0
|  |  | 7. 3 Phase Voltage Phase Shifter | 1 | 0 | 0
|  |  | 8. Phase Angle Meter | 1 | 0 | 0
IV.8.3 | Sensitivity Test, Stability Test | 8 | 1. Differential Relay (Percentage / 2 winding) | 1 | 4410 | 4410
|  |  | 2. Power Source | 1 | 157.5 | 157.5
|  |  | 3. Cables | 2 | 52.5 | 105 | 5302.5
IV.9.1 | DC Driver | 9 | 1. DC Motor Driver | 1 | 630 | 630
IV.9.2 | AC Driver | 9 | 1. AC Motor Driver | 1 | 525 | 525
IV.9.3 | Cyclo-Converter | 9 | 1. DC Power Supply | 1 | 0 | 0
|  |  | 2. Load RLC | 1 | 506.94 | 506.94
|  |  | 3. Cyclo - Converter | 1 | 1050 | 1050
|  |  | 4. Electronic Clock | 1 | 321.3 | 321.3
|  |  | 5. True RMS-Meter | 1 | 979.65 | 979.65
|  |  | 6. Single Phase Supply Unit | 1 | 908.565 | 908.565
IV.9.4 | PLC | 9 | 1. PLC Trainer Under Windows | 1 | 4227.51 | 4227.51
IV.9.5 | DC Transmission/ | 9 | 1. DC Power Supply | 1 | 0 | 0
| Illumination simulation |  | 2. Cassy-Pack | 2 | 0 | 0
|  |  | 3. Personal Computer Pentium IV | 2 | 0 | 0 | 9148.965
IV.10.1 | Breakdown Voltage | 10 | 1. Measuring Spark Gap MF | 1 | 8813.7 | 8813.7
|  |  | 2. HV Silicium Rectifier 100 Kohm GS | 1 | 4961.25 | 4961.25
|  |  | 3. DC Voltmeter GM 78 | 1 | 619.395 | 619.395
|  |  | 4. Space Bar for mf Alluminium Tube D(F) | 1 | 173.25 | 173.25
|  |  | 5. Impuls Voltmeter stm 76 | 1 | 0
|  |  | 6. Oscilloscope Dual Beam | 1 | 787.185 | 787.185
|  |  | 7. Vessel for Vacuum and Pressure DKU | 1 | 9352.35 | 9352.35
IV.10.2 | Supported Isolate Test | 10 | 1. Oil Testing Cup OP | 1 | 885.15 | 885.15
IV.10.3 | Corona Discharge Test | 10 | 1. Milliammeter D(D) | 2 | 288.75 | 577.5 | 26169.78
|  |  |  | Total in US $ |  | 127780.445
|  |  |  | Total in Rupiah |  | 1086133782.5
Note on E266: LAB KONTROL 2000:
Note on E267: LAB KONTROL 2000:
Note on F266: LAB KONTROL 2000:
Note on G142: LAB KONTROL 2000:
Note on G145: LAB KONTROL 2000:
Note on G148: LAB KONTROL 2000:
Note on G150: LAB KONTROL 2000:
Note on G152: LAB KONTROL 2000:
Note on G153: LAB KONTROL 2000:
Note on G156: LAB KONTROL 2000:
Note on G159: LAB KONTROL 2000:
Note on G161: LAB KONTROL 2000:
Note on G164: LAB KONTROL 2000:
Note on G166: LAB KONTROL 2000:
Note on G167: LAB KONTROL 2000:
Note on G170: LAB KONTROL 2000:
Note on G171: SONGKOLLO' BASI 2000
Note on G174: LAB KONTROL 2000:
Note on G177: LAB KONTROL 2000:
Note on G179: LAB KONTROL 2000:
Note on G182: LAB KONTROL 2000:
Note on G185: LAB KONTROL 2000:
Note on G187: LAB KONTROL 2000:
Note on G188: LAB KONTROL 2000:
Note on G191: LAB KONTROL 2000:
Note on G194: LAB KONTROL 2000:
Note on G195: LAB KONTROL 2000:
Note on G197: LAB KONTROL 2000: